## Slide 1: Image analysis: what and how?
David Legland
Advanced methods in bioimage analysis
Heidelberg, 10 – 15 Sep 2023

## Slide 2: Why Image Analysis?
Generation of large quantity of imaging data
Objectives:
  Exploration
  Illustration
  Visual comparison
  Statistical comparison
  Classification
  Modelling
  …
Analysis
Measures
Image
Need to quantify information within images

## Slide 3: Image analysis workflow (simplified!)
Segmentation
nom | Aire | Diamètre
1 | 106338.3 | 361.098
2 | 70218.3 | 295.065
3 | 75126.2 | 305.979
4 | 122860.9 | 391.435
5 | 75484.3 | 306.734
6 | 65021.3 | 283.923
7 | 98862.4 | 348.279
8 | 69997.7 | 294.174
9 | 72672.9 | 298.124
Original image
Filtered image
Segmented image
Results table
Filtering &
enhancement
Analysis

## Slide 4: What I will talk about
What can we quantify from images?
  It depends on the image/on the topic
  Often focus on regions, but not always appropriate
  -> overview of cases
How can we quantify?
  What are the mathematical basis of image analysis?
  What are the limits?

## Slide 5: Outline
Introduction
What can we quantify?
  Regions
  Point patterns
  Microstructures
  Textures
  …
How can we quantify?

## Slide 6: Analysis of regions
Usually the “main” case of image analysis
Regions:
  A set of pixels/voxels associated to the same class
  Regions correspond to cells, objects, organs…
Usually obtained by (manual or automated) segmentation
Often represented as “label maps”

## Slide 7: Analysis of regions: morphometry
“Morphometry”: measuring the morphology
  Size + Shape
“Size” -> how large is the region
  Area
  Perimeter
  Thickness
  Diameter(s)
    Feret
    Geodesic
  Equivalent shape
  …
Legland and Beaugrand (2013)
Arganda-Carreras and Andrey (2017)

## Slide 8: Shape factors / indices
Shape:
  “what remains independently of position, rotation and size”
  Often quantified via ratio of size features

## Slide 9: Shape indices for 3D regions

## Slide 10: Region outline analysis – Elliptical Fourier Descriptors
Idea:
  Consider the region contour / outline
  Apply Fourier transform
  Keep adequate number of harmonics
C(t) = ( x(t) , y(t) )
Iwata H & Ukai Y (2002)
Neto et al, (2006) Computers and Electronics in Agriculture

## Slide 11: Skeleton analysis
Skeleton / medial axis:
  Set of the centres of disks that touch the boundary at more than one point
Skeleton analysis:
  Number / size of branches, topology…

## Slide 12: Analysis of regions: more than morphology
Intensities / colours
Orientations
Spatial organizations
…

## Slide 13: Classification of regions based on their morphology
Principles:
  Extract features
  Optionally combine with other features
    Intensity
    Texture
    …
  Unsupervised
    PCA+K-means, HCA, t-SNE…
  Supervised
    K-means, SVM, CNN…
Andrews et al. (2021)
Vergara et al., (2021)
Zitchenko et al. (2023)

## Slide 14: Analysis of “positions” -> point pattern analysis
Structures of interests are points (in 2D, 3D…)
Examples:
  Markers within cell
  Cells within tissue
  Tissues within organ
  …
Related questions :
  Number
  Densities (local, global)
  Spatial organization:
    Clustering, repulsion…
    Modeling

## Slide 15: Point pattern analysis – density maps
Detection of points (here, of bundles) within tissue
Evaluate expected number of points wrt location
  Parzen window, K-NN…

## Slide 16: Point pattern analysis – summary statistics
How are the points organized?
  “Regular”, clusters, repulsion…
Analysis by means of summary functions
  E.g. “Ripley’s K function”
  Other functions: F, G, H, L…
Cressie (1991); Lagache et al. (2013), PlosONE
Behanova et al. (2022) Front. Physiol

## Slide 17: “Binary microstructures”, porous media
Structure composed of two phases, possibly interconnected
  Porous media/material: material containing a large number of pores
Examples
  Material sciences
  Bone, lung
  Bread, cheese
  …
Considered as binary images
Emmental & Camembert Cheese
Bone microstructure,
from https://doi.org/10.1007/s11914-020-00631-1
Feeney el al., 2021

## Slide 18: Analysis of binary microstructures
Features:
  Porosity
  Pore size distribution
  Thickness distribution
  Chord-length distribution
  Local orientation
  Tortuosity
  …
Torquato (2002)
Hormann et al. (2016)

## Slide 19: Image texture analysis
Structures of interest may be hard to identify or individualize
  Poor resolution
  Aggregation process
  Superposition
  …
Image texture analysis:
  Study of the variations of gray levels between neighbour pixels

## Slide 20: Image texture analysis methods
(Gray-level) co-occurrence matrix
  “Haralick” features
Run-length matrix
Local binary patterns
Frequency Analysis
  Fourier, Gabor, wavelets…
Auto-regressive models
Fractal analysis
Granulometry
  (developed later)

## Slide 21: Typology of image analysis cases
Points
Microstructures
Textures
Regions
Features:
Size
Shape
Orientation
Intensities
…
Features:
Densities
[co]Localization
Repulsion / attraction
…
Features:
Porosity
Tortuosity
Thickness D°
Pore size D°
…
Features:
Variations of gray levels
Size D°
Orientation

## Slide 22: Typology of image analysis cases (continued)
Histogram analysis
  Intensities / gray values
  Multi-variate histograms
    Colors
    Joint histograms
  Clustering / learning possible
Time-analysis
  Changes of morphology / intensity…
  Changes in localization
  …

## Slide 23: Outline
Introduction
What can we quantify?
How can we quantify?
  Mathematical preliminaries
  Perimeter & Surface area
  Image texture analysis

## Slide 24: Digitization of images
Image space in “discrete” -> defined on a grid
Shape defined in continuous space will result in a representation in discrete space

## Slide 25: Digitization of images
Gauss digitization:
  Consider the pixels within structures
We may reconstruct structures
  Polygons (2D)
  Polyhedra (3D)
The same continuous shape may have several digitizations

## Slide 26: Digitization of measures
Given a discrete representation of images, how do we evaluate geometric quantities?
  Measure on reconstruction
  Digitization of measures
  …
Which error(s)?
How to validate?

## Slide 27: Evaluation of measures quality
Two criteria:
  Accuracy
  Precision (variability)
Measures
  Bias (average error)
  Standard deviation

## Slide 28: Outline
Introduction
What can we quantify?
How can we quantify?
  Mathematical preliminaries
  Perimeter & Surface area
  Image texture analysis

## Slide 29: How can we quantify? Perimeter and Surface area
Widely used features
  May be seen as the “quantity of boundary”
  Determine several shape indices
Continuous definitions
  Perimeter
  Surface area
Discrete equivalent?

## Slide 30: Starting example: how to measure perimeter?
Idea #1: count boundary pixels [voxels]
Do we improve measure if we increase resolution?

## Slide 31: Surface area estimation
Count Border voxels
« Marching cubes »
  Developed for 3D visualization of intensity images
  Reconstruction of a triangle mesh based on 2x2x2 voxels configurations
    Mesh surface area measure
Integral geometry
Discrete geometry
Lorensen W.E. and Cline H.E. (1987)
Coeurjolly D., Flin F. , Teytaud O. , Tougne L. (2002)

## Slide 32: Perimeter estimation integral geometry approach
Principle:
  Integration over all 2D lines:
    All possible orientations
    All parallel lines
  Compute intersections (or Euler Number) of lines with region
  Crofton formula relates perimeter to number of intersections
Crofton (1868)

## Slide 33: Surface area estimation integral geometry approach
Extends very nicely to 3D case!
  Integration over all 3D lines:
    All possible orientations
    All parallel lines
  Crofton formula relates Surface area to number of intersections
Crofton (1868)

## Slide 34: Surface area estimation integral geometry approach
Application to discrete 3D images:
  Average over the 3 or 13 main directions
  Express S as a sum of values computed over voxels
    Or over 2x2x2 binary configurations
    Very efficient algorithms
Serra, 1980 ; Ohser & Schladitz, 2009
Legland et al. 2007, Image Anal Stereol
Ziegel & Kiderlen, 2010

## Slide 35: Experimental validation
3D shapes generation
  Known / fixed surface area
  Random orientation and position
3D gauss discretization
  Various grid sizes
  Cubic & non-cubic voxels

## Slide 36: Comparison of methods
Repeat for many positions & orientations
Crofton method:
  More precise
  Using 13 directions reduces variability
Isosurface
  Large bias
  Low variability

## Slide 37: Some properties of surface area (and perimeter)
Important properties (in continuous domain):
  Invariance to isometries
    translations & rotations
    (not totally preserved in discrete space)
  Additivity
    Estimate from partial observation
    Build estimators
    Generalizes to binary microstructures
Also valid for:
  volume, area, Euler number

## Slide 38: Summary on perimeter & surface area
Obvious / naive methods are not always accurate…
Good idea to apply validation workflows
Not always easy to setup
  -> we will see this during practical

## Slide 39: Outline
Introduction
What can we quantify?
How can we quantify?
  Mathematical preliminaries
  Perimeter & Surface area
  Image texture analysis
    Gray level granulometry

## Slide 40: Gray level granulometry - motivation
Plant tissue imaging
  Whole section
  Quasi-cellular resolution
Cells difficult to segment
  Small cells, superposition
Objectives:
  Quantify cell size distribution
  And its spatial variations
Use image texture analysis
  Gray level granulometry
Image: section of maize stem section

## Slide 41: Gray level granulometry based on mathematical morphology
Principle: application of image filters with increasing sizes
Use of morphological opening / closing
Morphological closing makes dark regions smaller than SE disappear
Sum of gray levels within image

## Slide 42: Gray level granulometry based on mathematical morphology
Morphological closing makes dark regions smaller than SE disappear
Sum of gray levels within image
Compute “average size” within image:
Principle: application of image filters with increasing sizes
Use of morphological opening / closing

## Slide 43: Comparison of plant tissue sections
10.7 mm
Variation of sum
of grey levels (%)
Size of structuring element (µm)
350 µm
450 µm
Devaux et al 2008, Postharvest Biol Tech.
Images: section of tomato pericarp

## Slide 44: Computation of average size profiles
Idea: measure texture within moving regions of interest
Summarize each granulometry curve by the average size
Plot the profile of average size

## Slide 45: Computation of average size profiles
Cell mean grey size

## Slide 46: Extensions to arbitrary regions
Legland et al. (2020)

## Slide 47: Description of anisotropy

## Slide 48: Extension to orientation mapping
Context: use of plant fibers within bio-based materials
Objective: quantify distribution of orientations
Method: granulometry with oriented line SE
Gager et al. (2020)

## Slide 49: Gray-level granulometry summary
Quantitatively describe texture within an image
  “Simple” method
  Interpretation as size distribution
  Focus on bright vs dark structures
Various flavours:
  Global texture
  Localisation of texture
  Orientation
Further analyses often require multi-variate statistical data exploration

## Slide 50: General conclusion
Quantitative image analysis is a rich topic!
Find the right feature for the right image
  Region analysis is not the only option!
Be critical with quantitative results
  Do not always blindly trust computers!
  Validate image analysis methods

## Slide 51: The end

## Slide 52: References
Region analysis
  Arganda-Carreras I, Andrey P (2017) Designing Image Analysis Pipelines in Light Microscopy: A Rational Approach. Markaki, Yolanda / Harz, Hartmann (Eds.) Light Microscopy: Methods and Protocols. Springer New York: New York, NY. p. 185-207
  Iwata H, Ukai Y (2002) SHAPE: a computer program package for quantitative evaluation of biological shapes based on elliptic Fourier descriptors. J Hered , Vol. 93, No. 5, p. 384-385
  Vergara HM, Pape C, Meechan et al. (2021) Whole-body integration of gene expression and single-cell morphology. Cell, 184, 4819-4837.e22
  Zinchenko V, Hugger J, Uhlmann V, Arendt D, Kreshuk A (2023) MorphoFeatures for unsupervised exploration of cell types, tissues, and organs in volume electron microscopy. eLife, eLife Sciences Publications, Ltd, 12, e80918
  Legland, D. & Beaugrand, J. (2013) Automated clustering of lignocellulosic fibres based on morphometric features and using clustering of variables. Industrial Crops and Products, 45, 253 – 261.
Point pattern analysis
  Cressie, Noel A. (1991) Statistics for spatial data. John Wiley and Sons.
  Lagache T, Lang G, Sauvonnet N, Olivo-Marin JC (2013) Analysis of the spatial organization of molecules with robust statistics. PLOS ONE, Vol. 8(12) 1-7.
  Legland, D.; Devaux, M.-F. & Guillon, F. (2014) Statistical mapping of maize bundle intensity at the stem scale using spatial normalisation of replicated images. PLoS ONE, 9, e90673
  Behanova A, Klemm A and Wählby C (2022) Spatial Statistics for Understanding Tissue Organization. Front. Physiol. 13:832417. doi: 10.3389/fphys.2022.832417.

## Slide 53: References
Microstructure
  Torquato S (2002) Random Heterogeneous Materials: Microstructure and Macroscopic Properties, Springer, New York.
  Doube M et al. (2010) BoneJ: free and extensible bone image analysis in ImageJ. Bone, Vol. 47, No. 6 p. 1076-1079.
  Feeney E, Lamichhane P, Sheehan JJ (2021) The cheese matrix: understanding the impact of cheese structure on aspects of cardiovascular health – a food science and a human nutrition perspective. International Journal of Dairy Technology , Vol. 74, No. 4 p. 656-670
  Hormann K, Baranau V, Hlushkou D, Holtzel A, Tallarek U (2016) Topological analysis of non-granular, disordered porous media: determination of pore connectivity, pore coordination, and geometric tortuosity in physically reconstructed silica monoliths. New J. Chem.
  Silva, J. V. C.; Legland, D.; Cauty, C.; Kolotuev, I. & Floury, J. (2015) Characterization of the microstructure of dairy systems using automated image analysis. Food Hydrocolloids, 44, 360-371
Texture analysis
  Haralick RM (1979) Statistical and structural approaches to texture. Proc. IEEE , Vol. 67(5) p. 786-804

## Slide 54: References
Perimeter / Surface area
  Serra, J. (1982) Image Analysis and Mathematical Morphology. Volume 1. Academic Press
  Lorensen WE & Cline, HE (1987) Marching Cubes: A High Resolution 3D Surface Construction Algorithm. Proceedings of the 14th Annual Conference on Computer Graphics and Interactive Techniques, ACM, 163-169
  Coeurjolly D, Flin F, Teytaud O & Tougne L (2002) Multigrid convergence and surface area estimation. Geometry, Morphology, . . . LNCS 2616, 2002, 2616, 101-119
  Ohser, J. & Schladitz, K. (2009) 3D Images of Materials Structures. WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim
  Legland, D.; Kiêu, K. & Devaux, M.-F. (2007) Computation of Minkowski measures on 2D and 3D binary images. Image Analysis and Stereology, 26, 83-92
  Lehmann, G. & Legland, D. (2012) Efficient n-dimensional surface estimation using crofton formula and run-length encoding. The Insight Journal
  Ziegel, J. & Kiderlen, M. (2010) Estimation of surface area and surface area measure of three-dimensional sets from digitizations. Image and Vision Computing, 28, 64-77

## Slide 55: References
Granulometry analysis
  Serra, J. (1982) Image Analysis and Mathematical Morphology. Volume 1. Academic Press
  Soille, P. (2003) Morphological Image Analysis. Springer.
  Devaux, M.-F.; Bouchet, B.; Legland, D.; Guillon, F. & Lahaye, M. (2008) Macro-vision and grey level granulometry for quantification of tomato pericarp structure. Postharvest Biol. and Technol., 47, 199-209
  Legland, D.; Devaux, M.-F.; Bouchet, B.; Guillon, F. & Lahaye, M. (2012) Cartography of cell morphology in tomato pericarp at the fruit scale. J. Microscopy, 247, 78-93
  Devaux, M.-F. & Legland, D. (2014) Grey level granulometry for histological image analysis of plant tissues. In: Microscopy: advances in scientific research and education. Méndez-Vilas, A. (Ed.) Formatex Research Center, 2014, 681-688
  Gager V, Legland D, Bourmaud A, Le Duigou A, Pierre F, Behlouli K & Baley C (2020) Oriented granulometry to quantify fibre orientation distributions in synthetic and plant fibre composite preforms. Industrial Crops and Products, 152, 112548
  Legland, D.; Guillon, F. & Devaux, M.-F. (2020) Parametric mapping of cellular morphology in plant tissue sections by gray level granulometry. Plant Methods, 2020, 16, 63