## Slide 1: Quantitative Image analysis
Questions (and answers?)

## Slide 2: Quantitative image analysis
Typical objectives:
  Comparison of modalities
  Classification
  Modelling
  …
Need to quantify information within images
Analysis
Measures
Image

## Slide 3: What can we quantify from images?
Points
Microstructures
Textures
Regions
Features:
Size
Shape
Orientation
Intensities
…
Features:
Densities
[co]Localization
Repulsion / attraction
…
Features:
Porosity
Tortuosity
Thickness D°
Pore size D°
…
Features:
Variations of gray levels
Size D°
Orientation
Side note: this is not exhaustive

## Slide 4: Evaluation of measures quality
Two criteria:
  Accuracy
  Precision (variability)
Measures
  Bias (average error)
  Standard deviation

## Slide 5: Why (when) it is necessary to consider accuracy (and precision)?
Necessary
  Interpretation
  Modelling
  Combination with other features
    E.g. circularity
Not necessary
  Group comparison
  Classification
  Clustering
  …

## Slide 6: Measurement of perimeter [and surface area]
Idea #1: count border pixels [voxels]
Idea #2: use Crofton formula

## Slide 7: Image texture quantification
Based on gray-level granulometry with morphological filters

## Slide 8: Morphological filters
Dilation
(max filter)
Erosion
(min filter)
Structuring element = neighborhood

## Slide 9: Morphological filters
Closing
(dilation+erosion)
Opening
(erosion+dilation)
Dark regions
disappear
Bright regions
disappear

## Slide 10: Morphological filters
Closing
(dilation+erosion)
Opening
(erosion+dilation)
Dark regions
disappear
Bright regions
disappear

## Slide 11: Iteration of morphological filters with increasing sizes
Provides size distributions
without having to segment

## Slide 12: Extensions of granulometry – parametric mapping

## Slide 13: Extension to orientation mapping
Context: use of plant fibers within bio-based materials
Objective: quantify distribution of orientations
Method: granulometry with oriented line SE
Gager et al. (2020)

## Slide 14: Any question about the talk?

## Slide 15: Practical session
Part 1: validation of image quantification methods
  « quality check »
  Focus on perimeter
Part 2: image texture analysis
  Example on plant tissue images
Use Fiji/ImageJ
  (with plugins…)
  https://github.com/dlegland/image-analysis-practical-2023

## Slide 16: What we will need
ImageJ / Fiji
MorphoLibJ
  Perimeter / surface area measure
  Morphological filters
Plugins
  DigitalShapes plugin
  ijGranulometry plugin
Macro programming

## Slide 17: Some questions before we start
 | Just know it | Use it | Proficient
ImageJ / Fiji |  |  | 
Macro programming |  |  | 
Mathematical morphology |  |  | 
Texture analysis |  |  | 

## Slide 18: Some questions before we start
How do you use image quantification:
  Never use
  Blindly provide
  Comparison
  Modelling
  Other?

## Slide 19: Practical part 1: Validation of image analysis method(s)
Principle:
  Generate synthetic shapes with known perimeter
  Generete digitized repesentation(s)
    Change position + orientation
  Measure
  Compare with expected value

## Slide 20: Image coordinate system

## Slide 21: Ex. 1.1 Measuring the perimeter of a disk
Run Fiji
Create New Image
  200 x 200 uint8
Add a disk:
  Plugins -> Digital Shapes -> Fill Disk
  Choose Radius = 50
  Arbitrary center
Question: perimeter = ?

## Slide 22: 1.1 Measuring the perimeter of a disk
Measuring with ImageJ
Measuring with MorphoLibJ
(relative) error: 4.7 %
(relative) error: 0.02 %

## Slide 23: Precision & accuracy
One measurement is not necessarily representative…
Need to integrate over several positions
  Either random or by numerical integration
Exercice:
  Generate 100 images (or more…)
  with various center positions
  Measure perimeter
  Evaluate mean and std of measurements

## Slide 24: Results for disk

## Slide 25: Ex.1.2 Other shapes: square, ellipse…
Repeat exercise with square
  Use «Fill Rotated Square » plugin
  Choose for example side length = 100
  Perimeter = ?
  Similar results as for disk?

## Slide 26: Results for square

## Slide 27: Ex. 1.3 Other shapes: square, ellipse…
Repeat exercise with ellipse
  Use «Fill Rotated Ellipse » plugin
  Perimeter of an ellipse ?
    Numerical integration
    Approximations

## Slide 28: Bonus: impact of orientation
Draw the error of perimeter measured on square (or ellipse) depending on orientation

## Slide 29: Bonus: impact of image resolution
Try to evaluate the precision for various pixel sizes
  Size = 0.5*D -> 100*D
Try also rectangular pixel (width != height)

## Slide 30: Bonus: evaluate error on surface area measure
Sample shapes:
  Sphere
  Ellipsoid, cylinder, cuboid…
  Problem: even distribution of orientations?

## Slide 31: Practical outline 2
Image texture analysis
Recall morphological filters
Compute granulometry curves
Interpret!

## Slide 32: Demonstration example
We will start with the image “coins.png”
  In “practical/granulometry/coins.png”
Pre-exercise: apply morphological filters with various diameters

## Slide 33: Run granulometry
Choose « granulometry by Radius… »

## Slide 34: Result

## Slide 35: Application to images of plant tissues
Choose one of the images in « maize » directory, and experiment

## Slide 36: Computation of average size
Mean value from a list of value:
Mean value from a distribution (arithmetic)
Geometric mean from a distribution

## Slide 37: Study of anisotropy
Try computing granulometry curves with horizontal and vertical elements
And compare

## Slide 38: Anistropy – expected result
Vertical direction
Horizontal direction

## Slide 39: Bonus: try your favorite image

## Slide 40: Bonus: try « batch processing »